## Bid Form_old (hidden)
JAN - Cutter Intertie Project
ITEM NO. | ITEM DESCRIPTION | UNIT | EST. QTY. | UNIT PRICE | TOTAL PRICE
General and Miscellaneous
1 | Mobilization (75%) / demobilization (25%). | LS | 1
2 | Testing allowance, (reimbursable lab fees only, incl. compaction, concrete, materials, water quality). | Allow. | 1 | 20000 | 20000
3 | Traffic control, per county and BIA requirements. | LS | 1
Erosion and Storm Water Controls
4 | Wire-caged riprap or cable-crete blanket, CIP. Final quantities, dimensions and locations TBD in field. | SY | 20
5 | Re-seeding of waterline ROW, TCE, and tank site ROW CIP. | LS | 1
6 | SWPPP pursuant to NPDES stormwater program and consistent with USEPA’s general construction permit. Includes preparation of document, all BMPs required by SWPPP, filing of all notices and inspections required by EPA, etc. | LS | 1
Water Mainline
7 | 10-inch PVC DR 18 C900 Pipeline, with appurtenances (incl. all fittings, adaptors and anchors not separately listed), includes fusible or bell and spigot joint as indicated on plans and specifications, CIP. | LF | 363
8 | 12-inch PVC DR 18 C900 Pipeline, with appurtenances (incl. all fittings, adaptors and anchors not separately listed), includes fusible or bell and spigot joint as indicated on plans and specifications, CIP. | LF | 40565
9 | Horizontal Directional Drilling, including 12" pipe and all activities for construction, CIP. | LF | 2556
10 | Flushing, disinfection & bacteriological testing, CIP. | LF | 43484
11 | Hydrostatic testing of main pipeline, CIP. | LF | 43484
12 | Rock removal and processed / imported backfill material (excludes placement and compaction of backfill, embedment, or soil cement, which are incidental to pipe bid items), CIP. | VLF | 4092.8
13 | Future Teepee Junction Connection with appurtenances (incl. all fittings and adaptors not separately listed), CIP. | LS | 1
Water Valve Assemblies
14 | 12-inch Gate valve assembly, CIP. | EA | 14
15 | 10-inch Gate valve assembly, CIP. | EA
16 | 8-inch Gate valve assembly, CIP. | EA | 1
17 | 2-inch Flush valve assembly with above-grade discharge, incl. main line tap, gate valve assembly, riser, meter can assembly, and steel discharge pipe, CIP. | EA | 6
18 | 2-inch Combination air release valve assembly with vault, CIP. | EA | 32
JAN Boundary Tank Site
19 | 150,000 gallon water storage tank and cathodic protection system, welded steel with passive anode CP per Sections 33 16 19, 09 97 14 and 26 42 10, including installation, energizing, adjusting, and testing, CIP. | EA | 1
20 | Tank foundation for 150,000 gallon welded steel tank, CIP. | EA | 1
21 | Disinfection, filling, and bacteriological testing of new 150,000 gallon tank, CIP. | EA | 1
23 | Tank site piping, (incl. all new pipe, drain lines and outfalls, appurtenances, fittings, and all other plumbing components within the JAN Boundary site ROWs not separately listed), CIP. Excludes gate valves and air valves. | LS | 1
22 | Site earthwork and grading at the tank site for sub-foundations, pads and driveway, incl. all earthwork and imported fill material, and material removal within the ROW for the tank not separately listed, per plans, specifications and geotechnical report, CIP. Excludes surfacing material and riprap. | LS | 1
23 | Tank site (incl. access road) surfacing with 2-inch gravel over 3-inch base course, CIP. | SY | 1340
24 | Tank site fencing (8 ft. with 3-strand barbed wire), incl. 20’ double swinging gates and removal of existing fence and gates, CIP. | LF | 448
Control Valve Vault
25 | 8-inch control valve assembly, with vault, CIP. | LS | 1
Road & Utility Crossings
26 | Open cut cased road crossings, incl. 24-inch sch 10 steel casing and end seals, CIP. Excludes carrier pipe. | LF | 0
27 | Bore and jack road crossing, incl. 24-inch dia. Sch. 10 steel casing and end seals, CIP. Excludes carrier pipe. | LF | 220
28 | Gas/petroleum line crossing, incl. 18-inch dia. DR 18 PVC casing, with petroleum-resistant gaskets and end seals, location and exposure of gas lines per gas company requirements, CIP. Excludes carrier pipe. | LF | 0
| TOTAL OF BASE BID: | $
Tax not included
IN WORDS:____________________________________________________________________________________ | [5 empty] | .
_____________________________________________________________________________________________________________ | [5 empty] | .
BID ALTERNATES
Note: Tax not included.
ITEM NO. | ITEM DESCRIPTION | UNIT | EST. QTY. | UNIT PRICE | TOTAL PRICE
19A | 150,000 gallon water storage tank and cathodic protection system, glass-fused bolted steel with passive anode CP per Section 33 16 21, including installation, energizing, adjusting, and testing, CIP. | EA | 1
20A | Tank foundation for 150,000 gallon glass-fused bolted steel tank, CIP. | EA | 1
| TOTAL OF BID WITH BID ALTERNATES: | $
Tax not included
(Including Base Bid total, substituting Bid Alternate items 19A & 20A for Base Bid
Items 19 & 20)
IN WORDS:____________________________________________________________________________________ | [5 empty] | .
_____________________________________________________________________________________________________________ | [5 empty] | .
Subtotal |  |  |  |  | #REF!
Total (not including taxes) |  |  |  |  | #REF! |  | 2109528.7
Note: Sales Tax not included. | [6 empty] | 66800
50000
8800
22910
57150
39750
19720
715005
110925
7961.5
6369.2
34768
7000
25500
15750
9408
25700
110000
210000
206500
76265
9350
48500
4250
10700
19257
25500
4140
36300
81000
34250
10000

## WJ Quantities (hidden)
Bid Item | Station | Description | Length | Quantity
REACH 24.1 JAN
|  | Begin of 10" DR18 pipeline (Start 26.3) |  | 0 | --
|  | End of 10" DR18 pipeline | LF | 15658 |  | 16165ft
|  | Begin of 14" DR14 pipeline (after 26.3 tank) |  | 0
|  | End of 14" DR14 pipeline | LF | 33.18 |  | 33849ft
|  | Total |  | 15692 |  | 50014ft
| 45+78.32 | Riprap | NA | 10 | SY
| 90+87.34 | Riprap | NA | 10 | SY
| 146+50 | Riprap | NA | 10 | SY
|  | Riprap | NA |  | SY
|  | Riprap | NA |  | SY
|  | Total |  | 30 | SY
|  | Rock Check Dams (C-7 & C-13) | # dams
|  |  | length |  | ft (scale from plan)
|  |  | avg. ht. |  | ft (assumed, from DT-30)
|  |  | avg. 1/2width |  | ft (calculated, DT-30)
|  |  | Volume |  | cu ft
cu yd
|  | Total |  | 0 | CU YD
| 1490 | 10" Gate Valve | NA | 1
| 3968 | 10" Gate Valve | NA | 1
| 9392 | 10" Gate Valve | NA | 1
| 10152 | 10" Gate Valve | NA | 1
| 14107 | 10" Gate Valve | NA | 1
| 16000 | 10" Gate Valve | NA | 1
| 16021 | 10" Gate Valve | NA | 1
|  | Total |  | 7
| 16000 | CP Needed for 10" GV | NA | 1
| 16021 | CP Needed for 10" GV | NA | 1
|  | Total |  | 1
| 4717 | 4" Flush Valves With Riser | EA | 1
|  | Total |  | 1
| 8749 | Flush Valve With Above Grade Discharge | EA | 1
| 14950 | Flush Valve With Above Grade Discharge | EA | 1
|  | Total |  | 2
| 4717 | 4" PVC Flush valve drain line | LF | 140
| 8749 | 4" PVC Flush valve drain line | LF | 20
| 14950 | 4" PVC Flush valve drain line | LF | 20
|  | Total |  | 180
| 31.68 | 2" VBV/ 1" ARV | NA | 1
| 1498.1 | 2" VBV/ 1" ARV | NA | 1
| 3976.57 | 2" VBV/ 1" ARV | NA | 1
| 5169.21 | 2" VBV/ 1" ARV | NA | 1
| 7215.61 | 2" VBV/ 1" ARV | NA | 1
| 7485.37 | 2" VBV/ 1" ARV | NA | 1
| 8331.25 | 2" VBV/ 1" ARV | NA | 1
| 9400 | 2" VBV/ 1" ARV | NA | 1
| 10160 | 2" VBV/ 1" ARV | NA | 1
| 14115 | 2" VBV/ 1" ARV | NA | 1
| 16029.13 | 2" VBV/ 1" ARV | NA | 1
|  | Total |  | 11
| 12334.54 | 4-inch VBV/ 1" ARV | N/A | 1
| 12359.54 | 4-inch VBV/ 1" ARV | N/A | 1
|  | Total |  | 2
Area (CU YD)
|  | Surge Tank Building Concrete Foundation | CU YD
|  | Surge Tank Building Concrete Porch | CU YD
|  |  | CU YD | 0
|  | New Fence Surge Tank site | LF | 300
|  | Surge Tank Site Base coarse/gravel | SQ YD | 917
917
Driveway???
|  | 24-inch Corrugated metal culvert @ surgetank | LF | 25
| 1602 | 18" PVC Casing | LF | 80
| 9933 | 18" PVC Casing | LF | 80
| 14246 | 18" PVC Casing | LF | 60
|  | Total |  | 220
| 16010 | 8" flow control valve | EA | 1
| 16035 | End cap | EA | 1

## Bid Form
Smith Lake Chapter Water System Improvements Project : Additive items - Dedicated waterline from Well #3 to Water Treatment Site
|  |  |  | SMA requested pricing on: | 2022-05-19
ITEM NO. | ITEM DESCRIPTION | UNIT | EST. QTY. | UNIT PRICE | TOTAL PRICE |  | Have Judy copy all descriptions & Est. Qty. over to Word doc. & tell her just to watch for rows in here that have been added/deleted since the Word doc. was last updated.
Erosion and Storm Water Controls
A-1 | Re-seeding of waterline ROW, CIP. | LF | 3994 |  | 0 |  | <-- Want reseeding of waterline & ST site as individual items, or lump together as in 24.1 JAN?
A-2 | SWPPP pursuant to NPDES stormwater program and consistent with USEPA’s general construction permit. Includes preparation of document, all BMPs required by SWPPP, filing of all notices and inspections required by EPA, etc. | LS | 1 |  | 0
Water Mainline
A-3 | 2-inch PVC SDR 21, 200psi WP, PVC pipeline, min. 4-ft bury to top of pipe, with appurtenances (incl. all fittings, adaptors and anchors not separately listed, bell and spigot joint as indicated on plans and specifications; excl. all piping & appurtenances within Well #3 and Well #1 Site Easement), CIP. | LF | 3994 |  | 0
| Tie-in to existing 4" distribution main (incl. 4"x2" & 2"x2" MJ tees w/MJ restraints on 4" connections and thrust blocks behind tees for restraint of 2", & all labor and appurtenances not separately listed), CIP. Excludes gate valve assemblies and 2" PVC pipeline. | EA | 2 |  | 0
A-4 | Flushing, disinfection and bacteriological testing of main pipeline, CIP. | LF | 0 |  | 0
A-5 | Hydrostatic testing of main pipeline, CIP . | LF | 3994 |  | 0
A-6 | Rock removal and processed / imported backfill material (excl. placement and compaction of backfill, embedment, or soil cement, which are incidental to pipe bid items), CIP. | VLF | 1997 |  | 0 | VLF quantity Assuming 10% of WL trench is rock w/ 5-ft bury. If NECA comfortable/prefers bidding w/rock incidental, that is ok too of course. No potholing has been completed along waterline route. | Added rock here- ok?
Water Valve Assemblies
A-7 | 2-inch Mainline Gate valve assembly for normally closed bypass to existing distribution, CIP. | EA | 2 |  | 0 | These are to be normally closed GVs where we are tying into 4" distribution as new line turns the corner towards each well. Iso valves at start and stop of line already accounted for in treatment site plan and prev recent work by neca at Well site #3.
A-8 | 1” combination air valve assembly in meter can (including Val-Matic model 302C.2-DISV air valve, 1" Val-matic floodsafe inflow preventer, and all accessories not separately listed), CIP | EA | 4 |  | 0 | NECA, see draft detail below, w/understanding that inflow preventer would be plumbed to air valve w/additional 1" stainless Sch40 in lieu of the small snorkel and then inflow preventer body supported with unistrut like the air valve is.
Road, Wash & Utility Crossings | [5 empty] | originally 7 air valves on BTY prelim draft, RMB thinks can get by w/4 once P&Ps are graded
A-9 | Open cut gas utility crossing, incl. location of gas line, EBAA 6500 (OAE) bell restraint harnesses for carrier pipe (quantity 3 estimated), 8-inch DR18 PVC casing and end seals, min. 24" vertical clearance from gas line to casing below unless otherwise directed, CIP. Excludes carrier pipe. | LF | 40 |  | 0 | typical gas x-ing ~40ft, typical casing must provide 4 inches between inside of casing and outside of carrier pipe. Restraint harnesses for 2" SDR pipe are 5.81" diameter casing clearance per EBAA. SMA will confirm required retraint length for cased line, but estimated 3 restraints given minimal restraint length anticipated but at least want to restrain within the casing and one either side.
A-10 | Open cut sewer line crossing, incl. location of sewer line, installation of carrier pipe with min. 12" vertical clearance from sewer line, CIP. Excludes carrier pipe. | LS | 1 |  | 0
| TOTAL OF BASE BID: | $ |  |  | 0
| NN 6% Sales Tax |  |  |  | 0
| Total w Tax |  |  |  | 0